## Config
Tag Provider: | SCADA
Site Name: | UnionCity
System Names
Mixing
Cylinders

## Pump
|  |  | System Name | System Number | Name | Manual | Outputs | Ready | Speed
UDT Type: | Pumps/Pump | MCA1 | Mixing | 1 | MCA | MW2455.8 | MW3064.8
Folder: | Edge/Pumps | MOLDAC | Mixing | 1 | MDX | MW2455.11 | MW3064.11
|  | NANI | Mixing | 1 | NaNi | MW2455.9 | MW3064.9
|  | CWM | Mixing | 1 | HE 45 | MW2455.10 | MW3064.10
|  | MIX1 | Mixing | 1 | Mix Pump | MW2455.15 | MW3064.15
|  | MIX3 | Mixing | 1 | Mix Pump2 | MW3648.12 | MW2459.13
|  | WAX | Mixing | 1 | Wax | MW5126.2 | MW5126.3
|  | MIX4 | Mixing | 1 | Mix Pump 3 | MW5126.4 | MW5126.5
|  | CIRC2 | Mixing | 1 | Circulation | MW3660.15 | MW5126.13
|  | MCA2 | Cylinders | 1 | MCA 2 | MW3653.3 | MW3065.7
|  | VACUUM1 | Cylinders | 1 | Vaccum1 | MW2459.3 | MW2457.11
|  | VACUUM2 | Cylinders | 1 | Vaccum2 | MW3057.15 | MW3056.15
|  | STRIP | Cylinders | 1 | STRIP | MW2459.4 | MW2457.13
|  | TRANSFER1 | Cylinders | 1 | TRANSFER1 | MW3061.1 | MW3062.1
|  | TRANSFER2 | Cylinders | 1 | TRANSFER2 | MW3061.2 | MW3062.2
|  | VACUUM | Cylinders | 2 | Vaccum1 | MW3649.3 | MW3647.11
|  | STRIP | Cylinders | 2 | STRIP | MW3649.4 | MW3647.13
|  | TRANSFER1 | Cylinders | 2 | TRANSFER1 | MW3061.9 | MW3062.9
|  | TRANSFER2 | Cylinders | 2 | TRANSFER2 | MW3061.10 | MW3062.10

## Valve
|  |  | System Name | System Number | Name | Manual | Outputs
UDT Type: | Valves/Valve | MS1 | Mixing | 1 | MS1 | MW2456.0 | MW3065.1
Folder: | Edge/Valves | MS2 | Mixing | 1 | MS2 | MW2456.3 | MW3065.2
|  | MS3 | Mixing | 1 | MS3 | MW3648.13 | MW3646.11
|  | MS4 | Mixing | 1 | MS4 | MW3642.1 | MW3644.4
|  | MS5 | Mixing | 1 | MS5 | MW3642.3 | MW3644.6
|  | MS6 | Mixing | 1 | MS6 | MW3642.5 | MW3658.2
|  | MD1 | Mixing | 1 | MD1 | MW2456.1 | MW3065.0
|  | MD2 | Mixing | 1 | MD2 | MW2456.2 | MW3065.3
|  | MD3 | Mixing | 1 | MD3 | MW3648.14 | MW3646.12
|  | MD4 | Mixing | 1 | MD4 | MW3642.2 | MW3644.5
|  | MD5 | Mixing | 1 | MD5 | MW3642.4 | MW3644.7
|  | MD6 | Mixing | 1 | MD6 | MW3642.6 | MW3644.9
|  | M1-1 | Mixing | 1 | M11 | MW3646.2 | MW3647.2
|  | M2-2 | Mixing | 1 | MCA | MW3083.13 | MW3082.12
|  | M4-2 | Mixing | 1 | MDX | MW2455.4 | MW3064.4
|  | M5-2 | Mixing | 1 | NANI | MW2455.2 | MW3064.2
|  | M7-2 | Mixing | 1 | HE45 | MW2455.3 | MW3064.3
|  | M3-2 | Mixing | 1 | Wax1 | MW3642.9 | MW3644.12
|  | M1-3 | Mixing | 1 | M12 | MW2455.0 | MW3064.0
|  | M2-3 | Mixing | 1 | MCA2 | MW3083.14 | MW3082.13
|  | M4-3A | Mixing | 1 | MDX2 | MW3646.1 | MW3646.13
|  | M5-3 | Mixing | 1 | NANI2 | MW3642.10 | MW3644.13
|  | M7-3 | Mixing | 1 | HE45_2 | MW3642.11 | MW3644.14
|  | M3-3 | Mixing | 1 | Wax2 | MW3642.12 | MW3644.15
|  | W2-1 | Mixing | 1 | Water1VALVE | MW2454.1 | MW3649.10
|  | W2-2 | Mixing | 1 | Water2Valve | MW3649.9 | MW3649.11
|  | M1-4 | Mixing | 1 | M13 | MW5122.9 | MW5122.10
|  | M2-4 | Mixing | 1 | MCA3 | MW5780.10 | MW5780.11
|  | M4-4A | Mixing | 1 | MDX3 | MW5122.13 | MW5122.14
|  | M5-4 | Mixing | 1 | NANI3 | MW5780.12 | MW5780.13
|  | M7-4 | Mixing | 1 | HE45_3 | MW5780.14 | MW5780.15
|  | M4 | Mixing | 1 | MOldac1-2 | MW3652.8 | MW3672.8
|  | M4-3B | Mixing | 1 | Moldac2-2 | MW3652.9 | MW3672.9
|  | M4-4B | Mixing | 1 | Mold Ac3-2 | MW3652.10 | MW3672.10
|  | M7 | Mixing | 1 | CWM1-2 | MW3652.11 | MW3672.11
|  | NOT LABEL | Mixing | 1 | CWM2-2 | MW3652.12 | MW3672.12
|  | NOT LABEL | Mixing | 1 | CWM3-2 | MW3652.13 | MW3672.13
|  | T1 | Cylinders | 1 | T1 | MW2458.4 | MW2457.0
|  | T2 | Cylinders | 1 | T2 | MW3063.4 | MW3085.6
|  | T3 | Cylinders | 1 | T3 | MW3063.5 | MW3085.7
|  | T4 | Cylinders | 1 | T4 | MW3063.6 | MW3085.8
|  | T5 | Cylinders | 1 | T5 | MW3063.7 | MW3085.9
|  | S1 | Cylinders | 1 | S1 | MW2458.9 | MW2457.3
|  | S2 | Cylinders | 1 | S2 | MW3083.9 | MW2457.4
|  | V1 | Cylinders | 1 | V1 | MW2458.15 | MW2457.9
|  | P1 | Cylinders | 1 | P1 | MW3083.6 | MW3083.1
|  | P2 | Cylinders | 1 | P2 | MW3083.7 | MW3083.2
|  | P3 | Cylinders | 1 | P3 | MW3083.8 | MW2457.2
|  | P4 | Cylinders | 1 | P4 | MW3063.0 | MW3085.2
|  | TNKV1 | Cylinders | 1 | TankV1 | MW2458.6 | MW2459.6
|  | TNKV2 | Cylinders | 1 | TankV2 | MW2458.7 | MW2459.7
|  | TNKV3 | Cylinders | 1 | TankV3 | MW3063.11 | MW3085.13
|  | R1 | Cylinders | 1 | R1 | MW3083.11 | MW2457.1
|  | R2 | Cylinders | 1 | R2 | MW3083.12 | MW3082.14
|  | R3 | Cylinders | 1 | R3 | MW3063.12 | MW3085.14
|  | T1 | Cylinders | 2 | T1 | MW3648.4 | MW3646.7
|  | T2 | Cylinders | 2 | T2 | MW3059.6 | MW3060.6
|  | T3 | Cylinders | 2 | T3 | MW3059.7 | MW3060.7
|  | T4 | Cylinders | 2 | T4 | MW3059.8 | MW3060.8
|  | T5 | Cylinders | 2 | T5 | MW3059.9 | MW3060.9
|  | T6 | Cylinders | 2 | T6 | MW3059.10 | MW3060.10
|  | T7 | Cylinders | 2 | T7 | MW3059.11 | MW3060.11
|  | V2 | Cylinders | 2 | V2 | MW3648.8 | MW3653.2
|  | V1 | Cylinders | 2 | V1 | MW3648.15 | MW3647.9
|  | C1 | Cylinders | 2 | C1 | MW3059.13 | MW3060.13
|  | C2 | Cylinders | 2 | C2 | MW3059.14 | MW3060.14
|  | C3 | Cylinders | 2 | C3 | MW3056.14 | MW3058.14
|  | S1 | Cylinders | 2 | S1 | MW3648.9 | MW3647.3
|  | S2 | Cylinders | 2 | S2 | MW3059.4 | MW3060.4
|  | S3 | Cylinders | 2 | S3 | MW3654.1 | MW3647.4
|  | R4 | Cylinders | 2 | R4 | MW3061.13 | MW3062.13
|  | R5 | Cylinders | 2 | R5 | MW3061.15 | MW3062.15
| s | R6 | Cylinders | 2 | R6 | MW3061.14 | MW3062.14
|  | TNKV4 | Cylinders | 2 | TankV4 | MW3648.6 | MW3649.6
|  | TNKV5 | Cylinders | 2 | TankV5 | MW3648.7 | MW3649.7
|  | TNKV6 | Cylinders | 2 | TankV6 | MW3059.15 | MW3060.15
|  | P1 | Cylinders | 2 | P1 | MW3654.0 | MW3653.0
|  | P2 | Cylinders | 2 | P2 | MW3649.0 | MW3653.1
|  | P3 | Cylinders | 2 | P3 | MW3059.0 | MW3060.0
|  | P4 | Cylinders | 2 | P4 | MW3059.1 | MW3060.1
|  | F1 | Cylinders | 2 | F1 | MW3655.10 | MW3655.11

## VFD Pump
|  | System Name | System Number | Name | Command.PID Mode | Command.Reset VFD Fault | Command.Run Command | Command.Setpoint | Status.Direction FWD | Status.Fault | Status.Ready | Status.Running | Frequency
UDT Type: | Pumps/Pump VFD | Cylinders | 1 | Pressure 1 | MW2459.5 |  |  | MW2580 |  |  |  | MW2457.15 | MW2302
Folder: | Edge/Pumps | Cylinders | 1 | pressure 2 | MW2459.9 |  |  | MW2594 |  |  |  | MW3084.4 | MW2304
|  | Cylinders | 2 | Pressure 1 | MW3649.5 |  |  | MW2622 |  |  |  | MW3647.15 | MW4002
|  | Cylinders | 2 | pressure 2 | MW3061.7 |  |  | MW2636 |  |  |  | MW3062.7 | MW2308

## Control Valve
|  | System Name | System Number | Name | Manual | Output | Setpoint
UDT Type: | Valves/control valve | Cylinders | 1 |  |  | MW1511 | MW1682
Folder: | Edge/Valves | Cylinders | 2 |  |  | MW1512 | MW1684

## Tank
|  |  | System Name | System Number | Name | Agitator.Manual | Agitator.Outputs | MixMan | TankIn.Density | TankIn.Diameter | TankIn.Length | TankIn.Minimum | TankIn.Pump | TankIn.TankType | TankOut.Bits | TankOut.Current Status | TankOut.Status.Empty | TankOut.Status.Full | TankOut.Status.LvlOk | TankOut.Status.OKtoCirc | TankOut.Status.OKtoHeat | TankOut.Status.OKtoMix | TankOut.Status.OKtoTreat1 | TankOut.Status.OKtoTreat2 | TankOut.Status.OKtoTreat3 | TankOut.Status.OKtoTreat4 | TankOut.Status.OKtoTreat5 | TankOut.Status.OKtoTreat6 | TankOut.Status.OVFAlarm | TankOut.Status.OVFCond | TankOut.Temp | TankOut.Volume
UDT Type: | Tank/Tank |  | Mixing | 1 | Mix Tank 1 |  |  |  | MW1874 | MW1872 | MW1878 | MW1880 | MW1884 | MW1876 | MW2748 | MW2750 | [14 empty] | MW2746 | MW2744
Folder: | Edge/Tanks |  | Mixing | 1 | Mix Tank 2 |  |  |  | MW1888 | MW1886 | MW1892 | MW1894 | MW1898 | MW1890 | MW2756 | MW2758 | [14 empty] | MW2754 | MW2752
|  |  | Mixing | 1 | Mix Tank 3 |  |  |  | MW1902 | MW1900 | MW1906 | MW1908 | MW1912 | MW1904 | MW2764 | MW2766 | [14 empty] | MW2762 | MW2760
|  |  | Mixing | 1 | Mix Tank 4 |  |  |  | MW1916 | MW1914 | MW1920 | MW1922 | MW1926 | MW1918 | MW2772 | MW2774 | [14 empty] | MW2770 | MW2768
|  |  | Mixing | 1 | Mix Tank 5 |  |  |  | MW1930 | MW1928 | MW1934 | MW1936 | MW1940 | MW1932 | MW2780 | MW2782 | [14 empty] | MW2778 | MW2776
|  |  | Mixing | 1 | Mix Tank 6 |  |  |  | MW1944 | MW1942 | MW1948 | MW1950 | MW1954 | MW1946 | MW2788 | MW2790 | [14 empty] | MW2786 | MW2784
|  | (not used) | Mixing | 1 | Mix Tank 7 |  |  |  | MW1958 | MW1956 | MW1962 | MW1964 | MW1968 | MW1960 | MW2796 | MW2798 | [14 empty] | MW2794 | MW2792
|  | (not used) | Mixing | 1 | Mix Tank 8 |  |  |  | MW1972 | MW1970 | MW1976 | MW1978 | MW1982 | MW1974 | MW2804 | MW2806 | [14 empty] | MW2802 | MW2800
|  | (not used) | Mixing | 1 | Mix Tank 9 |  |  |  | MW1986 | MW1984 | MW1990 | MW1992 | MW1996 | MW1988 | MW2812 | MW2814 | [14 empty] | MW2810 | MW2808
|  | (not used) | Mixing | 1 | Mix Tank 10 |  |  |  | MW2000 | MW1998 | MW2004 | MW2006 | MW2010 | MW2002 | MW2820 | MW2822 | [14 empty] | MW2818 | MW2816
|  |  | Mixing | 1 | Water |  |  |  | MW2014 | MW2012 | MW2018 | MW2020 | MW2024 | MW2016 | MW2828 | MW2830 | [14 empty] | MW2826 | MW2824
|  |  | Mixing | 1 | MCA |  |  |  | MW2028 | MW2026 | MW2032 | MW2034 | MW2038 | MW2030 | MW2836 | MW2838 | [14 empty] | MW2834 | MW2832
|  |  | Mixing | 1 | HE 45 |  |  |  | MW2042 | MW2040 | MW2046 | MW2048 | MW2052 | MW2044 | MW2844 | MW2846 | [14 empty] | MW2842 | MW2840
|  |  | Mixing | 1 | NaNi |  |  |  | MW2056 | MW2054 | MW2060 | MW2062 | MW2066 | MW2058 | MW2852 | MW2854 | [14 empty] | MW2850 | MW2848
|  |  | Mixing | 1 | HE-14 |  |  |  | MW2070 | MW2068 | MW2074 | MW2076 | MW2080 | MW2072 | MW2860 | MW2862 | [14 empty] | MW2858 | MW2856
|  |  | Mixing | 1 | WAX |  |  |  | MW2084 | MW2082 | MW2088 | MW2090 | MW2094 | MW2086 | MW2868 | MW2870 | [14 empty] | MW2866 | MW2864
|  |  | Mixing | 1 |  |  |  |  | MW2098 | MW2096 | MW2102 | MW2104 | MW2108 | MW2100 | MW2876 | MW2878 | [14 empty] | MW2874 | MW2872
|  |  | Mixing | 1 |  |  |  |  | MW2112 | MW2110 | MW2116 | MW2118 | MW2122 | MW2114 | MW2884 | MW2886 | [14 empty] | MW2882 | MW2880
|  |  | Mixing | 1 | Water 2 |  |  |  | MW2126 | MW2124 | MW2130 | MW2132 | MW2136 | MW2128 | MW2892 | MW2894 | [14 empty] | MW2890 | MW2888
|  |  | Mixing | 1 | Tank20 |  |  |  | MW2140 | MW2138 | MW2144 | MW2146 | MW2150 | MW2142 | MW2900 | MW2902 | [14 empty] | MW2898 | MW2896